NFPA Compliance Checklist

Based on NFPA 70E (2024) & NFPA 70B (2026)

# Category: Written Electrical Safety Program

Checklist Item: Documented Electrical Safety Program (ESP) per NFPA 70E 110.3

Compliant (Y/N): ___________________

Notes/Corrective Action:

_______________________________________________________________________________________ _______________________________________________________________________________________

# Category: Written Electrical Preventive Maintenance Program

Checklist Item: Electrical Maintenance Program (EMP) per NFPA 70B 4.2

Compliant (Y/N): ___________________

Notes/Corrective Action:

_______________________________________________________________________________________ _______________________________________________________________________________________

# Category: Written Program

Checklist Item: Documented Arc Flash Risk Assessment, Single-Line Drawings, Short-Circuit, Coordination Load-Flow, Reliability Studies per NFPA 70B 6.7.2 updated every 5 years)

Compliant (Y/N): ___________________

Notes/Corrective Action:

______________________________________________________________________________________

______________________________________________________________________________________

Category: Written Program

Checklist Item: Shock Risk Assessment per NFPA 70E 130.4

Compliant (Y/N): ___________________

Notes/Corrective Action:

_______________________________________________________________________________________

_______________________________________________________________________________________

Category: Written Electrical Safety Program

Checklist Item: Written procedure for establishing an Electrically Safe Work Condition NFPA 70E Article 120 Compliant (Y/N): ___________________

Notes/Corrective Action:

_______________________________________________________________________________________ _______________________________________________________________________________________

# Category: Training & Qualification

Checklist Item: All employees trained in electrical safety NFPA 70E 110.4 refreshed every 3 years Compliant (Y/N): ___________________

Notes/Corrective Action:

_______________________________________________________________________________________ _______________________________________________________________________________________

# Category: Training & Qualification

Checklist Item: Qualified persons identified and verified NFPA 70E 110.4 (A)(1)

Compliant (Y/N): ___________________

Notes/Corrective Action:

_______________________________________________________________________________________ _______________________________________________________________________________________

# Category: Training & Qualification

Checklist Item: CPR and emergency response training current NFPA 70E 110.4 (C)(2)

Compliant (Y/N): ___________________

Notes/Corrective Action:

_______________________________________________________________________________________

_______________________________________________________________________________________

Category: Labeling

Checklist Item: Equipment labeled with incident energy or arc flash PPE category NFPA 70E 130 (H) Compliant (Y/N): ___________________

Notes/Corrective Action:

_______________________________________________________________________________________ _______________________________________________________________________________________

# Category: Labeling

Checklist Item: Labels include shock boundaries and working distances NFPA 70E 130 (H)

Compliant (Y/N): ___________________

Notes/Corrective Action:

_______________________________________________________________________________________ _______________________________________________________________________________________

# Category: PPE

Checklist Item: Arc-rated PPE selected and available per arc flash study NFPA 70E 130.7

Compliant (Y/N): ___________________

Notes/Corrective Action:

_______________________________________________________________________________________ _______________________________________________________________________________________

# Category: PPE

Checklist Item: Voltage-rated gloves, tools, and test instruments available and tested NFPA 70E 130.7(C)(7)

Compliant (Y/N): ___________________

Notes/Corrective Action:

_______________________________________________________________________________________

_______________________________________________________________________________________

Category: Work Practices

Checklist Item: Use of energized electrical work permit when justified NFPA 70E 130.2

Compliant (Y/N): ___________________

Notes/Corrective Action:

_______________________________________________________________________________________ _______________________________________________________________________________________

# Category: Work Practices

Checklist Item: Lockout/Tagout procedures documented and enforced NFPA 70E 120.2

Compliant (Y/N): ___________________

Notes/Corrective Action:

_______________________________________________________________________________________ _______________________________________________________________________________________

# Category: Maintenance

Checklist Item: Maintenance frequencies documented for electrical assets NFPA 70B Chapter 9.2 Compliant (Y/N): ___________________

Notes/Corrective Action:

_______________________________________________________________________________________ _______________________________________________________________________________________

# Category: Maintenance

Checklist Item: Testing follows NFPA 70B Chapter 7

Compliant (Y/N): ___________________

Notes/Corrective Action:

_______________________________________________________________________________________

_______________________________________________________________________________________

Category: Maintenance

Checklist Item: Calibration records maintained for all test instruments NFPA 70B 7.3.1.1.2

Compliant (Y/N): ___________________

Notes/Corrective Action:

_______________________________________________________________________________________ _______________________________________________________________________________________

# Category: Audits

Checklist Item: Electrical Safety Program audited every 3 years NFPA 70E 110.3 (L)(1)

Compliant (Y/N): ___________________

Notes/Corrective Action:

_______________________________________________________________________________________ _______________________________________________________________________________________

# Category: Audits

Checklist Item: Field work practices audited annually NFPA 70E 110.3 (L)(2)

Compliant (Y/N): ___________________

Notes/Corrective Action:

_______________________________________________________________________________________ _______________________________________________________________________________________

# Category: Audits

Checklist Item: Incident investigations conducted, and improvements documented NFPA 70E 110.3 (J) Compliant (Y/N): ___________________

Notes/Corrective Action:

_______________________________________________________________________________________

_______________________________________________________________________________________